

Dear Valued Doctor,

Thank you for ordering our exclusive GOST discs.

Instructions For Use:

Prior to use of our GOST Discs, please use our Magic Strip in a Super Fine grit that we have enclosed as a gift for you to break the contact between teeth. If you enjoy the strip, please use the Reorder number MSXFSS to order more.

It is very important to open a gap of 0.06 – 0.08 mm between the teeth to allow the guided disc to run freely without getting stuck which could cause the disc to bend.

If using the GOST kit or individual discs, please use the following steps.

1. Break the contact and open a gap using the Super Fine Magic Strip (**MSXFSS).** Make sure to roll the wheel to the tightened position.
2. Use the yellow disc **GOST0.15** and then continue moving up in size using the red **GOST0.20,** blue **GOST0.30,** green **GOST0.40 and** black **GOST0.50** (If needed)
3. Use the **disc guard (MDISC-GUARD1)** around the disc to create extra protection to the patient.
4. **STOP! PLEASE NOTE:** When using our discs make sureto place the 16-1 Handpiece in the locked position. Not locking the disc in to position correctly will cause the handpiece and disc to become damaged and will void its warranty. The best way to check is to tug the disc prior to turning on to make sure it is in there snug.

Thank you from all of us at Strauss Diamond and we hope that you enjoy our products!